## Slide 1: The launch of Gaia
Ralf Kohley
Scientific Detector Workshop 2013
Florence, 9 October 2013

## Slide 2: Mission timeline
|
08/2013
Credit: Images © ESA
Launch: 20 November 2013
Launch campaign Kourou
|
11/2013
LEOP + transfer to L2
|
12/2013
Commissioning + PV
|
04/2014
Operations
|
2019
Notes: LEOP: Launch and Early Orbit Phase

## Slide 3: Shipping to Kourou

## Slide 4: Launch Campaign (Spacecraft integration)
Credit: Images © 2013 ESA – CNES - Arianespace

## Slide 5: Deployed sunshield
Credit: Image © 2011 Astrium

## Slide 6: Launch Campaign (Launcher integration)
Credit: Images © 2013 ESA – CNES - Arianespace
Image: Fregat upper stage
Image: Soyuz 1st and 2nd stage

## Slide 7
Gaia
Credit: ESA

## Slide 8: The need for Gaia
The primary objective of the Gaia mission is to provide a census of more than 1,000 million (one billion) stars in our Galaxy and beyond.
Image: Progress of astrometric accuracy (ESA)
Studies of the Galaxy require:
  Accurate distances and motions, combined with physical properties of stars (temperatures, metallicities, surface gravities, interstellar extinctions/reddenings, masses, ages, ....)
  A representative, complete sample of stars down to faint magnitudes
This can only be achieved from space and requires astrometry, photometry, and spectroscopy.
Gaia will perform a unique and unbiased all-sky survey to map the three-dimensional position to micro-arsecond accuracy and velocity of all objects 5.7 to 20th magnitude, radial velocities down to 17th magnitude.
Notes: Edicott mentioned the first e2v deep-depleted CCD to go into space.

## Slide 9: Gaia: the discovery machine
1 billion objects in 3D will provide:
in our Galaxy …
  the distance and velocity distributions of all stellar populations
  the spatial and dynamic structure of the bulge, disk and halo
  its formation history and past evolution
  a rigorous framework for stellar structure and evolution theories
  a large-scale survey of double and multiple stars (~100,000,000)
  a large-scale survey of extra-solar planets (~5,000 photometric, ~2,000 astrometric)
  a large-scale survey of Solar System bodies (~250,000)
… and beyond
  definitive distance standards out to the Magellanic Clouds
  rapid reaction alerts for supernovae and burst sources (~6,000)
  resolved galaxies (~1,000,000)
  quasars and redshifts (~500,000)
  microlensing (~2,000 photometric; a few astrometric?)
  fundamental quantities to unprecedented accuracy (e.g. PPN γ to 2×10-6)
Notes: Edicott mentioned the first e2v deep-depleted CCD to go into space.

## Slide 10: Gaia: Astrometry, Photometry, Spectroscopy
3 science instruments in combined focal plane:
Credit: Figure courtesy EADS-Astrium
Astrometry:
320-1000 nm (G magnitude)
Blue photometer:
320–680 nm
Red photometer:
640–1000 nm
Spectroscopy:
847–874 nm
(resolution 11,500)
Notes: Edicott mentioned the first e2v deep-depleted CCD to go into space.

## Slide 11: Focal plane schematics
Credit: Figure courtesy EADS-Astrium
Cold
Warm
Notes: Left of PSS: warm electronics with IM radiator to outer space.
Right of PSS: cold parts right of PSS with the cold radiator to payload cavity.
FPA mean temperature: 163K, gradient: 6K (158K – 164K).
Micro-Kelvin stability.

## Slide 12: Assembled focal plane
Credit: Figure courtesy EADS-Astrium

## Slide 13: CCDs integrated in FPA
Credit: Figure courtesy EADS-Astrium
WFS
CCDs integrated on common support structure (CSS):
  1 x 0.5 m in size
  20 kg, all Silicon Carbite (SiC)
  Excellent thermal and mechanical stability
  WFS opto-mechanical assemblies directly mounted on the CSS in front of WFS CCDs.
  106 CCDs mounted on CSS aligned in 7 rows and 17 functional strips.
  0.28 m2 of Silicon
Notes: Micro-Kelvin thermal stability.

## Slide 14: FPA arrangement of 106 CCDs
e2v technologies CCD91-72:
10µm x 30µm pixels
1966 columns x 4500 rows (TDI stages)
4 phase parallel, 2 phase serial register
Single low noise amplifier
Charge injection structure
Lateral anti-blooming drain
12 Special TDI gates to reset TDI integration
Summing register for parallel binning
Serial binning on output node
3 variants:
  AF: 16µm, standard silicon, broadband AR
  BP: 16µm, standard silicon, blue enhanced AR
  RP: 40µm, deep-depleted, red enhanced AR
Object detection
Astrometric field
Photometers
Radial velocity spectrograph
Credit: underlying image courtesy Boostec
Notes: Edicott mentioned the first e2v deep-depleted CCD to go into space.

## Slide 15: Astrometric data
Credit: Image courtesy Michael Davidson (VirtualScan simulation)

## Slide 16: Autonomous object detection
Credit: Image courtesy Jos de Bruijne and Guido De Marchi (GIBIS simulation)

## Slide 17: Photometric data
Credit: Image courtesy Anthony Brown (GIBIS simulation)

## Slide 18: Spectroscopic data
Credit: Image courtesy George Seabroke and Katja Janssen

## Slide 19: Calibration means
  No shutter
  No flat field source
  No full frame readout (only regions of interest in science data)
  No dedicated calibration objects/fields (continuous TDI scan, no stare modes)
  But …
  Charge injection
  TDI blocking gates
  Large parameter space to modify on-board algorithms behaviour
  Engineering interface
  Data processing determines calibration parameters from science data (self-calibrating concept)

## Slide 20: CCD performance
59%
23%
75%
96%
95%
39%
AF
BP
RP
RVS
Credit: QE model courtesy Maximilian Fabricius.
Notes: BP @ 400nm:1sigma: 3.4%,9.1% p-v
AF @ 650nm:1sigma: 1.2%,7.6% p-v
RP @ 900nm:1sigma: 1.6%,6.9% p-v

## Slide 21: CCD controller performance
CCD controller (PEM) build by EADS Astrium Crisa, Spain:
  ASIC based sequencer
  3 MSPS 16-bit ADC
  2 bandwidth selector and 2 gain stages
  DCDS with digital oversampling (up to 8 samples averaged) for slower readout speeds
  Minimal footprint for FPA mounting
Image: Read-out noise in FPA context.
11.3e-
2.6e-
Different readout modes depending on function in focal plane:
  40 to 833 kHz pixels rates (10 MHz serial clocking)
  3e- to 11e- readout noise
  All modes synchronized to 0.9828 ms TDI line shift time
  Different binning modes depending function and object brightness
Notes: Stdev: 0.2-0.3e-

## Slide 22: Radiation test bench during development and operations
Astrium Radiation test bench facility:
  5 test campaigns successfully completed to support SOC/DPAC radiation effect modelling on CCDs.
  Facility now at ESTEC and operative to support operations.
Credit: Photo courtesy Peter Verhoeve
Image: Monte-Carlo simulation of LSF deformation due to radiation induced CTI for illustration. Courtesy Thibaut Prod’homme.
Image: Artists impression of “sky-like” mask for testing of radiation effects on astrometry. Courtesy Denis Marchais (EADS Astrium).

## Slide 23: Countdown