## Slide 1: Maximizing Science from JWST Detectors
Michael Regan, Eddie Bergeron, Rachel Anderson, Doug Long (STScI)

## Slide 2: Summary
Measuring and understanding
persistence
Correcting for temperature
variations

## Slide 3: Measuring Persistence in HgCdTe in H2-RG detectors

## Slide 4: The Smith model (2008) of persistence does an excellent job of matching the observations.

## Slide 5: A persistence metric should specify how long to soak a saturation image and how long of an idle&reset before a dark is taken.
0 “ idle
80 “
320 “
1200 “
20 “
1200 “ idle
320 “ idle
80 “ idle
20 “ idle
Exp
time

## Slide 6: The differential rate falls off as an exponential
Read Number, 10 seconds/read

## Slide 7
After 20 seconds of resetting.
Read Number, 10 seconds/read

## Slide 8
After 80 seconds of resetting
Read Number, 10 seconds/read

## Slide 9
After 320 seconds of resetting.
Read Number, 10 seconds/read

## Slide 10
After 20 minutes of resetting.
Read Number, 10 seconds/read

## Slide 11
Overall, resetting doesn’t increase the decay of the persistence.
Read Number, 10 seconds/read

## Slide 12: A simpler way to create the metric is just to set VRESET = DSUB and expose for the requested time.
0 “ idle
80 “
320 “
1200 “
20 “
1200 “ idle
320 “ idle
80 “ idle
20 “ idle
Exp
time

## Slide 13: The bias change yields 55% of the persistence seen in the light saturated images. Which is consistent with the fraction of the full well used.
Saturation for 20 minutes
Changed bias for 20 minutes
Ratio

## Slide 14: The maximum persistence is controlled by the number of empty traps in the depletion region.

## Slide 15: By lowering the detector bias, we can decrease the maximum persistence.
Ratio of total persistence
after lower net bias by
100 mV.

## Slide 16: Correcting for Temperature Variations

## Slide 17: The pixels are very good thermometers.
A 100 mK change in the middle
of an exposure.

## Slide 18: The pixel response to temperature is not constant.

## Slide 19: We can solve for the observed number of electrons using a general least square solution.
Light Sensitive Pixels
Reference Pixels
BUT, this requires inverting a 250 TB matrix!!

## Slide 20: Using only a trial 100x100 subarray we are able to well approximate a temperature change.

## Slide 21: Alternatively, can use saturated hot pixels to directly determine the temperature (Rauscher method).

## Slide 22: Conclusions
Persistence
Time of capture is related to time of decay but decay takes a lot longer
Only time can heal persistence.
Using bias changes is a better way to measure persistence.
Temperature
We can use the detector to measure it’s own temperature.