## Slide 1: JWST Persistence: Modeling, Characterization, & Correction
Michael Regan
&
Eddie Bergeron

## Slide 4
JWST
MIRI Medium Resolution Spectrograph (MRS)
13-minute exposure

## Slide 5
110 minutes
55 minutes
Persistence is visible for 2 hours after exposure

## Slide 6
110 minutes
55 minutes
Persistence is visible for 2 hours after exposure

## Slide 7: Slot Image

## Slide 10: The Model

## Slide 11
Extension of Smith 2008

## Slide 12
Extension of Smith 2008

## Slide 13
+
Extension of Smith 2008

## Slide 14
+
Extension of Smith 2008

## Slide 15
Extension of Smith 2008

## Slide 16: Testing the predictions of the model

## Slide 17
Traps
decay during dark

## Slide 18
Traps captured during soak

## Slide 19: Persistence decay is unaffected by resets

## Slide 20
1000
2000
3000
4000
Time since stimulus image (secs)
Resets do not help

## Slide 21
1000
2000
3000
4000
Time since stimulus image (secs)
Resets do not help

## Slide 22
1000
2000
3000
4000
Time since stimulus image (secs)
Resets do not help

## Slide 23
1000
2000
3000
4000
Time since stimulus image (secs)
Resets do not help

## Slide 24
1000
2000
3000
4000
Time since stimulus image (secs)
Resets do not help

## Slide 25: Soak time affects persisence

## Slide 26
CR in 1st 10th of exposure
CR in last 10th of exposure

## Slide 27: Mitigating and Correcting Persistence

## Slide 28: The best correction is the one you don’t have to make.

## Slide 29: Get Better Detectors (less traps)
Early Engineering Part
Rejected Flight Part
Peak is 1/6 of EE part peak
Almost Flight Part

## Slide 30: Get Better Detectors (less traps)
Early Engineering Part
Rejected Flight Part
Peak is 1/6 of EE part peak
Almost Flight Part
Peak 1/6 of Rejected Part

## Slide 31: Short integrations are better than long ones.

## Slide 36: What parameters does the model need?

## Slide 39: For every trap: capture rate decay rate

## Slide 40
But there are an
a large number
of traps

## Slide 41
“Everything should be made as simple as possible, but not simpler.” Albert Einstein

## Slide 42
Assume a spherical trap…

## Slide 43
Assume there are
a limited number
of trap families

## Slide 44
Dark after 200 frame (~2100 sec)
electronic persistence exposure
at hard saturation level

## Slide 45
Half life = 1 hour
Half life = 9 min.
Half life = 1 min.

## Slide 46
Instantaneous Capture Function

## Slide 47
Instantaneous Capture Function

## Slide 49: Ramp Capture Function
Slope dt

## Slide 50: Slope

## Slide 51: Persistence

## Slide 52: Distance traveled matters
Depleted
Undepleted
Undepleted
+
+
+
+
+
-
-
-
-
-
-
+
Photo-generated

## Slide 53: Distance traveled matters
+
+
+
+
+
-
-
-
-
-
Persistence
Depleted
Undepleted
Undepleted
+
+
+
+
+
-
-
-
-
-
-
+
+
Photo-generated
+

## Slide 54: Gain varies with distance
Gain = t * Slope

## Slide 55: Ramp Capture Function
t*Slope2 dt
Gain = t * Slope

## Slide 57
Residual
Persistence

## Slide 58: Conclusions
Trap Capture/Decay Model works
Correction significantly removes effects of persistence
Shorter integrations lead to significantly less persistence