## Slide 1: FPGA implementation of a DCDS processor
Simon Tulloch
European Southern Observatory

## Slide 2: Hardware
Commercial Xilinx Artix
FPGA board
(Opal Kelly)
DAC to produce
synthetic CCD video
waveform
Dual 20MHz 16-bit ADC
Dual low-noise
video pre-amps with DC restoration
Regulator
Preamp test connectors

## Slide 3: FPGA IP
512 x 8-bit
Dual-Port
Coefficient
RAM
(sample
weighting)
X
Divider
(to perform average of weighted samples)
OUTPUT FIFO
NSERIAL
L
RDLY
SDLY
DMP
EDLY
ADCPL
Serial register length:
Samples per pedestal:
Delay prior to reset pedestal:
Delay prior to signal pedestal:
Charge dump event:
Delay at end of pixel:
ADC pipeline delay:
24-bit up/down
Accumulator
8
16
24
32
16
CCD video waveform
sampled at 20MHz
Pixel to host
Configuration Registers (7 needed) to define which parts of the video waveform we want to process
Xilinx IP library: Block Memory Generator
: DSP slice used as multiplier
: Accumulator
Custom VHDL : FSM sequencers
: Event timers
DSP48 slice
Loaded from host