## Slide 1: University Astronomy
Professor Don Figer
Instruments and Detectors II

## Slide 2: Lecture Outline
Photon Detection in PN Junctions
  review semiconductors
  PN Junction
  charge collection in PN junctions
Review of CCDs
  definition
  design
  operation
  performance
Review of Infrared CMOS Detectors

## Slide 3: What do Detectors do?
Convert a physical phenomenon into a signal
Store the signal
Read the signal

## Slide 4: semiconductors and pn junctions

## Slide 5: Semiconductor Detectors
Convert light into free electrons
Store the free electrons in PN junctions
Transduce the electrons into voltage

## Slide 6: Semiconductors
A conductor has free (unbound) electrons that can flow in the presence of an electric field.
An insulator impedes the flow of electrons.
A semiconductor becomes a conductor if the electrons are excited to high enough energies, otherwise it is an insulator.
  allows for a “switch” which can be on or off
  allows for photo-sensitive circuits (photon absorption adds energy to electron)
Minimum energy to elevate an electron into the conduction band is the “band gap energy”

## Slide 7: Periodic Table
Semiconductors occupy column IV of the Periodic Table.
Outer shells have four empty valence states.
An outer shell electron can leave the shell if it absorbs enough energy.

## Slide 8: Simplified Silicon Band Diagram
Conduction band
Valence band
Eg bandgap
um

## Slide 9: Semiconductor Dopants

## Slide 10: PN Junctions
In a PN junction, positively charged holes diffuse into the n-type material. Likewise, negatively charged electrons diffuse into the p-type material.
This process is halted by the resulting E-field.
The affected volume is known as a “depletion region”.
The charge distribution in the depletion region is electrically equivalent to a 2-plate capacitor.

## Slide 11: Photon Detection in PN Junctions
A photon can interact with the semiconductor to create an electron-hole pair.
The electron will be drawn to the most positively charged zone in the PN junction, located in the depletion region in the n-type material.
Likewise, the positively charged hole will seek the most negatively charged region.
Each photon thus removes one unit of charge from the capacitor. This is how photons are detected in both CCDs and most IR arrays.

## Slide 12: The Band Gap Determines the Red Limit

## Slide 13: ccds

## Slide 14: CCD Definition
A CCD is a two-dimensional array of metal-oxide-semiconductor (MOS) capacitors.
The charges are stored in the depletion region of the MOS capacitors.
Charges are moved in the CCD circuit by manipulating the voltages on the gates of the capacitors so as to allow the charge to spill from one capacitor to the next (thus the name “charge-coupled” device).
An amplifier provides an output voltage that can be processed.
The CCD is a serial device where charge packets are read one at a time.

## Slide 15: CCD Pixels
Charge motion
Charge motion
Serial (horizontal) register
Parallel (vertical) registers
Pixel
Image area
(exposed to light)
Output amplifier
masked area
(not exposed to light)

## Slide 16: What is This?
Notes: 16

## Slide 17: First Astronomical CCD image
1974 on an 8” telescope
Notes: 17

## Slide 18: CCD in a Dual-Inline Package
Notes: Delta-Doped Charged Coupled Devices (CCD) for Ultra-Violet and Visible Detection
CCDs allow scientists to study one of the least explored windows of the electromagnetic spectrum - the extreme ultraviolet. Until recently, scientists believed there was little point to exploring this spectral region. They thought that the mixture of hydrogen gas and other less abundant gases, which fill the space between stars and is commonly called the "interstellar medium," would absorb virtually all extreme ultraviolet radiation before it became detectable from Earth. Consequently, this region became known as the "unobservable ultraviolet."
This is where stable ultraviolet CCDs step in for crucial space and ground-based astronomy to detect younger, hotter objects. Because of the high quantum efficiency of these devices, very faint objects can potentially be observed. Stability of the device makes it possible to gather reliable data in space-based astronomy.
Scientists will learn much more about hot white dwarf stars - extremely dense stars that represent a final stage of stellar evolution - and young massive stars that are characterized by outflowing, shock-heated winds. Moreover, they will learn about cataclysmic variable stars, binary star systems in which the mass of one star is transferred to the other, causing dramatic changes in extreme ultraviolet brightness. They may even have a chance to probe the enigmatic cores of distant galaxies."

## Slide 19: MOS Capacitor Geometry
A Metal-Oxide-Semiconductor (MOS) capacitor has a potential difference between two metal plates separated by an insulator.
Notes: 19

## Slide 20: CCD Clocking

## Slide 21
pixel
boundary
Charge packet
p-type silicon
n-type silicon
SiO2 Insulating layer
Electrode Structure
pixel
boundary
incoming
photons
Photons entering the CCD create electron-hole pairs. The electrons are then attracted towards the most positive potential in the device where they create ‘charge packets’. Each packet corresponds to one pixel

## Slide 22
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
Time-slice shown in diagram
1
2
3

## Slide 23
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3

## Slide 24
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3

## Slide 25
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3

## Slide 26
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3

## Slide 27
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3

## Slide 28: CCD Performance Metrics
Charge generation
  quantum efficiency (QE)
  dark current
Charge collection
  full well capacity
  pixels size
  pixel uniformity
  defects
  diffusion (Modulation Transfer Function, MTF)
Charge transfer
  charge transfer efficiency (CTE)
  defects
Charge detection
  readout noise (RON)
  linearity

## Slide 29: Well Capacity
Blooming
pixel
boundary
Photons
Photons
Overflowing
charge packet
Spillage
Spillage
pixel
boundary

## Slide 30: Saturation
CCD pixels have a linear response of measured output voltage to a value quite close to the full well capacity of the pixel. The number of electrons which can be stored is given by:
Q = CV
V is the voltage, and C is the capacitance of the pixel, given approximately by:
C  Aκε0/d
A is the area of the pixel, d is the thickness of the SiO2 layer, κ is the dielectric constant of SiO2 (about 4.5) and ε0 is the permittivity of free space.
Notes: 30
We look at the charge capacity or full well capacity of a CCD pixel. CCds have a linear response, I.e. charge is proportional to radiation, to close to this capacity. We can work out the capacitance of a pixel and thus thus the full well capacity. A few things to note, the capacity of proportional to the area of the pixel, so our drive to get smaller pixels for better resolution has a drawback. The capacity is also proportional to the Voltage, MPP chips have a lower voltage difference between the central phase and surrounding phases.

## Slide 31: Linearity and Saturation
Typically, the full well capacity of a CCD pixel 25 μm square is 500,000 electrons.
  If the charge in the well exceeds about 80% of this value the response will be non-linear.
  This is because the filled pn junction region will have a weaker and weaker field.
  If it exceeds this value, charge will spread through the barrier phase to surrounding pixels.
This charge blooming occurs mainly vertically, as there is little horizontal bleeding because of the permanent doped channel stops.
Readout register pixels are larger, so there is less saturation effect in the readout register.
Notes: 31
We can work this number out, and there is a problems on this. If we exceed the capacity then charge tends to spread up and down the columns. Not across because of the permanent channel stops, and not in the readout register where we increase the pixel area to increase the charge capacity.

## Slide 32: Blooming
Blooming
Bloomed star images

## Slide 33: Dark Current
Dark current is generated when thermal photon-induced vibrations cause an electron to move from the valence band to the conduction band.
The majority of dark current is created near the interface between the Si and the SiO2, where interface states at energy between the valence and conduction bands act as a stepping stone for electrons. These are sometimes referred to as “mid-band” states.
CCDs can be operated at temperatures down to around 140K, to reduce thermal effects.
Notes: 33
The dark current is background signal generated by thermal effects. Because of the dark current CCds are run cooled, to reduce the possibility of thermal excitation of electrocs across the band gap.

## Slide 34: Dark Current vs. Temperature
Thermally generated electrons are indistinguishable from photo-generated electrons : “Dark Current” (noise)
Cool the CCD down!!!

## Slide 35: Charge Transfer Efficiency
When the wells are nearly empty, charge can be trapped by impurities in the silicon. So faint images can have tails in the vertical direction.
Modern CCDs can have a charge transfer efficiency (CTE) per transfer of 0.9999995, so after 2000 transfers only 0.1% of the charge is lost.
Notes: 35
Charge can be trapped as you read it out, although with modern buried channel CCDs this is much less of a problems than it used to be.

## Slide 36
Example:
X-ray events with charge smearing in an
irradiated CCD (from GAIA-LU-TN01)
direction of charge transfer
In the simplest picture (“linear CTI”) part of the
original image is smeared with an exponential
decay function, producing “tails”:
original image
after n transfers
36
Notes: 36

## Slide 37: Read-Out Noise
Mainly caused by thermally induced motions of electrons in the output amplifier.
These cause small noise voltages to appear on the output.
This noise source, known as Johnson Noise, can be reduced by cooling the output amplifier or by decreasing its electronic bandwidth. Decreasing the bandwidth means that we must take longer to measure the charge in each pixel, so there is always a trade-off between low noise performance and speed of readout.
The graph below shows the trade-off between noise and readout speed for an EEV4280 CCD.

## Slide 38: CCD readout noise
Reset noise: there is a noise associated with recharging the output storage capacitor, given by σres=  (kTC) where C is the output capacitance in Farads.
This is removed by correlated double sampling, where the reset voltage is measured after reset and again after readout. The first value is subtracted from the second, as this voltage will not change.
The output Field Effect Transistor also contributes noise. This is the ultimate limit to the readout noise, at a level of 2-3 electrons
Notes: 38
Surface state noise is akin to charge transfer problems, and like those is much reduced in buried channel CCDs.
The largest source of noise in the best modern CCDs is the FET noise from the previous slide.

## Slide 39: LSST Has a Big Camera

## Slide 40: LSST Has a Big Focal Plane
Guide Sensors (8 locations)
Wavefront Sensors (4 locations)
3.5 degree Field of View (634 mm diameter)

## Slide 41: LSST CCD Raft

## Slide 42: infrared detectors

## Slide 43: History
Herschel’s detection of IR from Sun in 1800
Johnson’s IR photometry of stars (PbS) mid 60’s
Neugebauer & Leighton: 2um Sky Survey (PbS), late 60’s
Development of bolometer (Low) late 60’s
Development of InSb (mainly military) early 70’s
IRAS 1983
Arrays (InSb, HgCdTe, Si:As IBCs) mid-80’s
NICMOS, 2MASS, IRTF, UKIRT, KAO, common-user instruments, Gemini, etc.
JWST and the search for cosmic origins

## Slide 44: Historical Motivation
Exploration & discovery
  Neugebauer, Leighton, Low, Fazio, Townes
Technological opportunities
  Bolometer (Low)
  PbS (Neugebauer)
  balloons (Fazio)
  IR lasers & interferometry (Townes)
A few, key problems
  Bolometric luminosities (Herschel, Johnson)
  The Galactic Center (Becklin)
  Star formation

## Slide 45: Current Motivation
High redshift objects
  lobs = l0 (1+z) 5000 Å ® >1 mm for z > 1
  Classical problems require infrared data
Obscuration by dust
  Al ~ la ® A2.2mm ~ 0.1 AV (Mathis 1990, ARAA, 28, 37)
  Now important for:
    Galactic nuclei, esp. AGN (unified model)
    Starburst galaxies
    Young stars
Very low mass objects & extrasolar planets
  Tplanet ~ 50 to 500 K lpeak ~ 5 – 50 mm
  TBD ~ 900 – 2000 K lpeak ~ 1 – 5 mm

## Slide 46: Infrared Hybrid Array
Infrared arrays use light-sensitive material that can detect infrared photons, wavelengths beyond ~1 um.
Therefore, silicon cannot be used as the light-sensitive layer.
This poses a problem because the readout circuit is most easily implemented in silicon.
Therefore, infrared arrays are “hybrids” – they use one material to detect light and silicon for the readout circuit.

## Slide 47: Periodic Table
Semiconductors occupy column IV of the Periodic Table
Outer shells have four empty valence states
An outer shell electron can leave the shell if it absorbs enough energy

## Slide 48: Periodic Table Continued
The column number gives the number of valence electrons per atom. Primary semiconductors have 4.
Compounds including elements from neighboring columns can be formed. These alloys have semiconductor properties as well (e.g. HgCdTe & InSb).
Mercury-cadmium-telluride (HgCdTe; used in NICMOS) and indium-antimonide (InSb; used in SIRTF) are the dominant detector technologies in the near-IR.

## Slide 49: The Band Gap Determines the Red Limit

## Slide 50: NICMOS Multiplexer (MUX)

## Slide 51: Dark Current
Like a CCD, IR arrays are affected by dark current and a variety of noise mechanisms.
Dark current is the signal that is seen in the absence of any light. For the near-IR (1-2.5 μm), the dominant components are diffusion, thermal generation-recombination (G-R) of charges within the semiconductor, and leakage currents. Combining these, it can be shown that where V is the voltage across the detector and R0diff and R0GR are the detector impendences at zero bias for diffusion and G-R.

## Slide 52: Dark Current Example

## Slide 53: Dark Current vs. Temperature

## Slide 54: Read Noise
Read noise is the uncertainty in the measured signal.
It is associated with the readout electronics.
Some common sources of read noise include thermal noise in resistive elements (Johnson noise), kTC noise in capacitors, and interference coupled into ground loops.
Read noise can be reduced
  better electronics system design
  subtracting the reset level to remove kTC noise
  reading the same signal multiple times and averaging
The effect of read noise can be reduced to increase signal-to-noise ratio by increasing the signal (increasing the exposure time).

## Slide 55: Multiple Sampling for Noise Reduction
By being a bit clever about reading out the array, one can minimize or eliminate some of these noise modes.
During an exposure, typically each pixel is sampled several times.
The measurements are averaged to reduce noise.

## Slide 56: QE Example
Relative QE for Bepi-Colombo device, at 293 K, of RVS MCT array after substrate removal. High response in the UV region is due to charge gain. The QE reduces by ~8% at 190 K.

## Slide 57: Persistence
Persistence is the tendency of a detector to capture charge liberated in one exposure and then release it later in another exposure.
It is produced by charge traps.
Persistence introduces a noise source into images.

## Slide 58: Persistence Movie

## Slide 59: Teledyne JWST Detector
H2RG HgCdTe array

## Slide 60: Raytheon Family Arrays

## Slide 61: RIT/Raytheon HELLSTAR